## Feuil1
Group | What | Address | Size | Comments
Setup param 0 | Fuel Ignition time | 0x1C00 | 1
Setup param 1 | FireCheck time | 0x1C01 | 1
Setup param 3 | HeatUp feeder OFF time | 0x1C03 | 1
Setup param 4 | HeatUp feeder ON time | 0x1C04 | 1
Setup param 5 | Fuel Ignition feeder OFF time | 0x1C05 | 1
Setup param 6 | Fuel Ignition feeder ON time | 0x1C06 | 1
Setup param 7 | FireCheck feeder OFF time | 0x1C07 | 1
Setup param 8 | FireCheck feeder ON time | 0x1C08 | 1
Setup param 10 | Power 1 feeder ON time | 0x1C0A | 1
Setup param 18 | Power 5 feeder ON time | 0x1C12 | 1
Setup param 19 | StopFire FAN1 pressure | 0x1C13 | 1
Setup param 20 | TestFire FAN1 pressure | 0x1C14 | 1
Setup param 21 | HeatUp FAN1 pressure | 0x1C15 | 1
Setup param 22 | FuelIgnition FAN1 pressure | 0x1C16 | 1
Setup param 23 | FireCheck FAN1 pressure | 0x1C17 | 1
Setup param 24 | Power 1 FAN1 pressure | 0x1C18 | 1
Setup param 28 | Power 5 FAN1 pressure | 0x1C1C | 1
Setup param 29 | TestFire RoomFAN speed | 0x1C1D | 1
Setup param 30 | StopFire RoomFAN speed | 0x1C1E | 1
Setup param 31 | HeatUp RoomFAN speed | 0x1C1F | 1
Setup param 32 | FuelIgnition RoomFAN speed | 0x1C20 | 1
Setup param 33 | FireCheck RoomFAN speed | 0x1C21 | 1
Setup param 34 | Power 1 RoomFAN speed | 0x1C22 | 1
Setup param 35 | Power 2 RoomFAN speed | 0x1C23 | 1
Setup param 36 | Power 3 RoomFAN speed | 0x1C24 | 1
Setup param 37 | Power 4 RoomFAN speed | 0x1C25 | 1
Setup param 38 | Power 5 RoomFAN speed | 0x1C26 | 1
Setup param 39 | 'High' RoomFAN speed | 0x1C27 | 1
Setup param 50 | Restart delta setup menu [8] | 0x1C32 | 1
Setup param 51 | Water storage set point tempertaure | 0x1C33 | 1 | only in config 2,5 (Room temp)
Setup param 52 | Water Modulation Temp setup menu [6] | 0x1C34 | 1
Setup param 53 | CoolFluid delta IN | 0x1C35 | 1 | 0: OFFF 0x0C : ECO
Setup param 54 | FireCheck OUT temp | 0x1C36 | 1
Setup param 55 | Exhaust modulation temp | 0x1C37 | 1
Setup param 56 | StopFire temp | 0x1C38 | 1
Setup param 57 | MAX Exhaust temp | 0x1C39 | 1
Setup param 59 | MIN Exhaust temp | 0x1C3B | 1
Setup param 60 | Cleaning period | 0x1C3C | 1
Setup param 61 | Cleaning time | 0x1C3D | 1
Setup param 62 | Cleaning FAN1 pressure | 0x1C3E | 1
Setup param 67 | avg Temp water/bwater for anti-cond/work pump phase | 0x1C43 | 1
Setup param 68 | avg Temp water/bwater start pump | 0x1C44 | 1
Setup param 69 | delta Temp water/bwater MAX for pump modulation | 0x1C45 | 1
Setup param 70 | HeatUp time | 0x1C46 | 1
Setup param 71 | Gradient time (*5) | 0x1C47 | 1
Setup param 72 | delta temp Gradient | 0x1C48 | 1
Setup param 73 |  | 0x1C49
Setup param 74 |  | 0x1C4A
Setup param 75 |  | 0x1C4B
Setup param 76 | Installation configuration | 0x1C4C |  | config 1-5
Setup param 77 |  | 0x1C4D
Setup param 78 |  | 0x1C4E
Setup param 79 |  | 0x1C4F
Setup param 81 |  | 0x1C51
Setup param 82 | MIN pressure value | 0x1C52
Setup param 83 | delay MIN pressure value | 0x1C53
Setup param 84 | Water storage set point tempertaure | 0x1C54 |  | only in config 1,3,4 (Water temp)
Setup param 85 |  | 0x1C55
Setup param 87 |  | 0x1C57
Setup param 88 |  | 0x1C58
Setup param 89 |  | 0x1C59
Setup param 90 |  | 0x1C5A
Setup param 91 |  | 0x1C5B
Setup param 92 | Type of pellets / Setup menu [14] | 0x1C5C
Setup param 94 | Service advice days | 0x1C5E | 1
Setup param 101 | Blow out time | 0x1C65 | 1
Setup param 102 | Frost protection temperture | 0x1C66 | 1
Stove data 3 | PressureToPulse factor | 0x1D88 | 2
Stove data 1 | Stove Board version | 0x1E04 | 2 | version = int16(d1 d0)
Stove data 2 | Stove Model number | 0x1E06 | 2 | number = int16(d1 d0)
User settings | Display brightness / Setup menu [11] | 0x1E22
User settings | Display mode / Setup menu [12] | 0x1E23
User settings | Buzzer volume / Setup menu [13] | 0x1E24
Stove data 10 | LOG00 - Day (YYYY-MM-DD hh:mm:ss)LOG00 - Day (YYYY-M | 0x1F01 | 1 | DD=val
Stove data 10 | LOG00 - Month (YYYY-MM-DD hh:mm:ss)LOG00 - Month (YY | 0x1F02 | 1 | MM=val
Stove data 10 | LOG00 - Year (YYYY-MM-DD hh:mm:ss)LOG00 - Year (YYYY- | 0x1F03 | 1 | YYYY=2000+val
Stove data 10 | LOG00 - Hour (YYYY-MM-DD hh:mm:ss)LOG00 - Hour (YYYY- | 0x1F04 | 1 | hh=val
Stove data 10 | LOG00 - Hour (YYYY-MM-DD hh:mm:ss)LOG00 - Hour (YYYY- | 0x1F05 | 1 | mm=val
Stove data 10 | LOG00 - Hour (YYYY-MM-DD hh:mm:ss)LOG00 - Hour (YYYY- | 0x1F06 | 1 | ss=val
Stove data 10 | LOG00 - Default code | 0x1F07 | 2 | default code = int16(d1 d0)
Stove data 11 | LOG01 YYYY-MM-DD hh:mm:ss | 0x1F09 | 8 | YYYY=2000+d2; MM=d1; DD=d0; hh=d3; mm=d4; ss=d5; defaut code=int16(d7 d6)
Stove data 12 | LOG02 YYYY-MM-DD hh:mm:ss | 0x1F11 | 8 | YYYY=2000+d2; MM=d1; DD=d0; hh=d3; mm=d4; ss=d5; defaut code=int16(d7 d6)
Stove data 13 | LOG03 YYYY-MM-DD hh:mm:ss | 0x1F19 | 8 | YYYY=2000+d2; MM=d1; DD=d0; hh=d3; mm=d4; ss=d5; defaut code=int16(d7 d6)
Stove data 14 | LOG04 YYYY-MM-DD hh:mm:ss | 0x1F21 | 8 | YYYY=2000+d2; MM=d1; DD=d0; hh=d3; mm=d4; ss=d5; defaut code=int16(d7 d6)
Stove data 15 | LOG05 YYYY-MM-DD hh:mm:ss | 0x1F29 | 8 | YYYY=2000+d2; MM=d1; DD=d0; hh=d3; mm=d4; ss=d5; defaut code=int16(d7 d6)
Stove data 16 | LOG06 YYYY-MM-DD hh:mm:ss | 0x1F31 | 8 | YYYY=2000+d2; MM=d1; DD=d0; hh=d3; mm=d4; ss=d5; defaut code=int16(d7 d6)
Stove data 17 | LOG07 YYYY-MM-DD hh:mm:ss | 0x1F39 | 8 | YYYY=2000+d2; MM=d1; DD=d0; hh=d3; mm=d4; ss=d5; defaut code=int16(d7 d6)
Stove data 18 | LOG08 YYYY-MM-DD hh:mm:ss | 0x1F41 | 8 | YYYY=2000+d2; MM=d1; DD=d0; hh=d3; mm=d4; ss=d5; defaut code=int16(d7 d6)
Stove data 19 | LOG09 YYYY-MM-DD hh:mm:ss | 0x1F49 | 8 | YYYY=2000+d2; MM=d1; DD=d0; hh=d3; mm=d4; ss=d5; defaut code=int16(d7 d6)
Stove data 20 | LOG10 YYYY-MM-DD hh:mm:ss | 0x1F51 | 8 | YYYY=2000+d2; MM=d1; DD=d0; hh=d3; mm=d4; ss=d5; defaut code=int16(d7 d6)
Stove data 21 | LOG11 YYYY-MM-DD hh:mm:ss | 0x1F59 | 8 | YYYY=2000+d2; MM=d1; DD=d0; hh=d3; mm=d4; ss=d5; defaut code=int16(d7 d6)
Stove data 22 | LOG12 YYYY-MM-DD hh:mm:ss | 0x1F61 | 8 | YYYY=2000+d2; MM=d1; DD=d0; hh=d3; mm=d4; ss=d5; defaut code=int16(d7 d6)
System | Target Pressure | 0x2000 | 2 | Pressure = int16(d1 d0)
Input | Exhaust temp | 0x200A | 2 | Temp = int16(d1 d0)
Input | T01 | 0x200E | 2 | Temp = int16(d1 d0)/10.0
Input | T02 | 0x2010 | 2 | Temp = int16(d1 d0)/10.0
Input | T05 | 0x2012 | 2 | Temp = int16(d1 d0)/10.0
System | Status | 0x201C | 1 | see status code table
System | deltaP | 0x2020 | 2 | int16(d1 d0)
Output | Room FAN | 0x2026 | 2 | int16(d1 d0)
Output | Exh. FAN rpm | 0x2028 | 2 | int16(d1 d0)
User settings | Burning power level | 0x202A | 1 | [1-5]
Input | Micro switch porte | 0x203C | 1 | bit 0: 0-close, 1-open (mask 0x01)
Input | Pressostat | 0x203C | 1 | bit 1: 0-close, 1-open (mask 0x02)
Output | Igniter | 0x2040 | 2 | bit 0: 0-OFF 1-ON (mask 0x01)
Output | Exhaust FAN | 0x2040 | 2 | bit 1: 0-OFF 1-ON (mask 0x02)
Output | Room FAN | 0x2040 | 2 | bit 2: 0-OFF 1-ON (mask 0x04)
Output | Feeder | 0x2040 | 2 | bit 3: 0-OFF 1-ON (mask 0x08)
Output | Pump | 0x2040 | 2 | bit 6: 0-OFF 1-ON (mask 0x40)
Output | Analog Output Exhaust FAN speed | 0x2042 | 1 | 0-255
System | Stove Power ON/OFF | 0x2044 | 2 | 1:OFF 2:ON (write 0x02 to 0x2044 and 0x00 to 0x2045 for Power ON)
System | Date second | 0x204E | 1
System | Date minute | 0x204F | 1
System | Date hour | 0x2050 | 1
System | Date GMT | 0x2051 | 1
System | Date day | 0x2052 | 1
System | Date month | 0x2053 | 1
System | Date year | 0x2054 | 1
Stove data 4 | Igniter starts | 0x2066 | 2 | int16(d1 d0)
Stove data 5 | ON time (hh:mm) | 0x2068 | 4 | hh=int(d3 d2) : mm=int(d1 d0)
Stove data 6 | Heating time (hh :mn) | 0x206E | 4 | hh=int(d3 d2) : mm=int(d1 d0)
User settings | Disable/Enable Timer | 0x2072 | 1 | 0:Disable 1:Enable
Stove data 7 | Service time (hrs) | 0x2076 | 2 | int16(d1 d0)
Stove data 8 | Over Temp errors | 0x207A | 2 | int16(d1 d0)
Stove data 9 | Missed firings | 0x207C | 2 | int16(d1 d0)
Timer program | P1 Start Hour | 0x8000 | 1 | 0x00 - 0x17
Timer program | P1 Start Minute | 0x8001 | 1 | 0x00 - 0x3C
Timer program | P1 Stop Hour | 0x8002 | 1 | 0x00 - 0x17
Timer program | P1 Stop Minute | 0x8003 | 1 | 0x00 - 0x3C
Timer program | P2 Start Hour | 0x8004 | 1 | 0x00 - 0x17
Timer program | P2 Start Minute | 0x8005 | 1 | 0x00 - 0x3C
Timer program | P2 Stop Hour | 0x8006 | 1 | 0x00 - 0x17
Timer program | P2 Stop Minute | 0x8007 | 1 | 0x00 - 0x3C
Timer program | P3 Start Hour | 0x8008 | 1 | 0x00 - 0x17
Timer program | P3 Start Minute | 0x8009 | 1 | 0x00 - 0x3C
Timer program | P3 Stop Hour | 0x800A | 1 | 0x00 - 0x17
Timer program | P3 Stop Minute | 0x800B | 1 | 0x00 - 0x3C
Timer program | P4 Start Hour | 0x800C | 1 | 0x00 - 0x17
Timer program | P4 Start Minute | 0x800D | 1 | 0x00 - 0x3C
Timer program | P4 Stop Hour | 0x800E | 1 | 0x00 - 0x17
Timer program | P4 Stop Minute | 0x800F | 1 | 0x00 - 0x3C
Timer program | P5 Start Hour | 0x8010 | 1 | 0x00 - 0x17
Timer program | P5 Start Minute | 0x8011 | 1 | 0x00 - 0x3C
Timer program | P5 Stop Hour | 0x8012 | 1 | 0x00 - 0x17
Timer program | P5 Stop Minute | 0x8013 | 1 | 0x00 - 0x3C
Timer program | P6 Start Hour | 0x8014 | 1 | 0x00 - 0x17
Timer program | P6 Start Minute | 0x8015 | 1 | 0x00 - 0x3C
Timer program | P6 Stop Hour | 0x8016 | 1 | 0x00 - 0x17
Timer program | P6 Stop Minute | 0x8017 | 1 | 0x00 - 0x3C
Timer program | Monday Bank1 | 0x8018 | 1 | [0-6] -> 0:OFF 1:P1 2:P2 3:P3 4:P4 5:P5 6:P6
Timer program | Monday Bank2 | 0x8019 | 1 | [0-6] -> 0:OFF 1:P1 2:P2 3:P3 4:P4 5:P5 6:P6
Timer program | Monday Bank3 | 0x801A | 1 | [0-6] -> 0:OFF 1:P1 2:P2 3:P3 4:P4 5:P5 6:P6
Timer program | Tuesday Bank1 | 0x801B | 1 | [0-6] -> 0:OFF 1:P1 2:P2 3:P3 4:P4 5:P5 6:P6
Timer program | Tuesday Bank2 | 0x801C | 1 | [0-6] -> 0:OFF 1:P1 2:P2 3:P3 4:P4 5:P5 6:P6
Timer program | Tuesday Bank3 | 0x801D | 1 | [0-6] -> 0:OFF 1:P1 2:P2 3:P3 4:P4 5:P5 6:P6
Timer program | Wednsday Bank1 | 0x801E | 1 | [0-6] -> 0:OFF 1:P1 2:P2 3:P3 4:P4 5:P5 6:P6
Timer program | Wednsday Bank2 | 0x801F | 1 | [0-6] -> 0:OFF 1:P1 2:P2 3:P3 4:P4 5:P5 6:P6
Timer program | Wednsday Bank3 | 0x8020 | 1 | [0-6] -> 0:OFF 1:P1 2:P2 3:P3 4:P4 5:P5 6:P6
Timer program | Thusday Bank1 | 0x8021 | 1 | [0-6] -> 0:OFF 1:P1 2:P2 3:P3 4:P4 5:P5 6:P6
Timer program | Thusday Bank2 | 0x8022 | 1 | [0-6] -> 0:OFF 1:P1 2:P2 3:P3 4:P4 5:P5 6:P6
Timer program | Thusday Bank3 | 0x8023 | 1 | [0-6] -> 0:OFF 1:P1 2:P2 3:P3 4:P4 5:P5 6:P6
Timer program | Friday Bank1 | 0x8024 | 1 | [0-6] -> 0:OFF 1:P1 2:P2 3:P3 4:P4 5:P5 6:P6
Timer program | Friday Bank2 | 0x8025 | 1 | [0-6] -> 0:OFF 1:P1 2:P2 3:P3 4:P4 5:P5 6:P6
Timer program | Friday Bank3 | 0x8026 | 1 | [0-6] -> 0:OFF 1:P1 2:P2 3:P3 4:P4 5:P5 6:P6
Timer program | Saturday Bank1 | 0x8027 | 1 | [0-6] -> 0:OFF 1:P1 2:P2 3:P3 4:P4 5:P5 6:P6
Timer program | Saturday Bank2 | 0x8028 | 1 | [0-6] -> 0:OFF 1:P1 2:P2 3:P3 4:P4 5:P5 6:P6
Timer program | Saturday Bank3 | 0x8029 | 1 | [0-6] -> 0:OFF 1:P1 2:P2 3:P3 4:P4 5:P5 6:P6
Timer program | Sunday Bank1 | 0x802A | 1 | [0-6] -> 0:OFF 1:P1 2:P2 3:P3 4:P4 5:P5 6:P6
Timer program | Sunday Bank2 | 0x802B | 1 | [0-6] -> 0:OFF 1:P1 2:P2 3:P3 4:P4 5:P5 6:P6
Timer program | Sunday Bank3 | 0x802C | 1 | [0-6] -> 0:OFF 1:P1 2:P2 3:P3 4:P4 5:P5 6:P6
Timer program | P1 Temp | 0x802D | 1
Timer program | P2 Temp | 0x802E | 1
Timer program | P3 Temp | 0x802F | 1
Timer program | P4 Temp | 0x8030 | 1
Timer program | P5 Temp | 0x8031 | 1
Timer program | P6 Temp | 0x8031 | 1

## Feuil2
Code (decimal) | STATUS
0 | "OFF"
1 | "---"
2 | "TEST FIRE"
3 | "HEAT UP"
4 | "FUEL IGN"
5 | "IGN TEST"
6 | "BURNING"
7 | "---"
8 | "---"
9 | "COOL FLUID"
10 | "FIRE STOP"
11 | "CLEAN FIRE"
12 | "COOL"
13 | "OFF"
14 | "HEAT UP"
15 | "FIRE UP"
16 | "STABILIZATION"
17 | "BURNING"
18 | "CLEANING"
19 | "FINAL CLEANING"
20 | "STANDBY"
21 | "ALARM"
22 | "ALARM"